Synchrophasor Application-Based Guide for Archive and Network Strategies (SABGANS)

North American Synchrophasor Initiative

Technical Report (Paper / Guide)

Authors/Contributors

Month xx, 2020

Synchrophasor Application-Based Guide for Archive and Network Strategies (SABGANS)

Purpose: Define a matrix to match synchrophasor systems (network and archive) to synchrophasor application data requirements by:

- Evaluating existing piggyback or standalone systems.

- Evaluating new technology systems.

Method:

- Applications:

  - Define sets of applications (real-time, research, off-line analysis) – Mostly done

  - Define matrix of data requirements for each application

- Networks:

  - Define available capabilities of existing synchrophasor networks

    - Source data connections

      - Serial-Based

      - Ethernet based

    - Communication networks

      - Fiber, Routers

    - PDC Network

      - Substation PDC

      - Substation to central PDC

      - Direct to central PDC

- Storage:

  - Define methods of existing archive system storage – Are they raw (uncompressed), compressed (interpolation), dropped repeat, conditioning and validation.  Cloud-Based, Local Server-Based.

    - SEL SynchroWAVe – Matthew Rhodes request

    - EPG RTDMS – Matthew Rhodes request

    - BPA – Matthew Rhodes request

    - GPA OpenHistorian – Christoph Lackner

    - OSI Soft PI – Dan Brancaccio and OSI

- Define available methods of new archive systems – Are they raw (uncompressed), compressed (interpolation), dropped repeat, conditioning and validation. Cloud-Based, Local Server-Based.

  - PingThings PredictiveGrid – Matthew Rhodes request

  - SAS – Matthew Rhodes request

- Define available methods of transferring PMU data from network to storage

  - PDC configuration

  - CSV file upload (direct or minimal pass through direct from PMU)

- Matrix of Network/Storage strategy to application data requirements

- NERC CIP Implications

-